## Cover
Dell × NVIDIA HGX B200 — System Reference
OEM system options for the High-end (prior gen) tier · Xeon 6-hosted designs · Compiled 25 September 2026
Attribute | Value | Tag | Source
GPU | NVIDIA HGX B200 | [I]
Tier | High-end (prior gen) | [D]
System(s) | XE9780 · XE9780L | [I]
Host socket / series | XE9780: LGA-4710 (Xeon 6700P (up to 86C)) · XE9780L: LGA-4710 (Xeon 6700P (up to 86C)) | [D]
GPU silicon reference | NVIDIA_B200_Reference.xlsx | [D]
Host CPU reference | Intel_Xeon6_Workload_SKU_Recommendations.xlsx rows 71-82 (see 5_Host_CPU_Map) | [I] | X5
Cross-OEM comparison | NVIDIA_Enterprise_GPU_Index.xlsx | [D]
POSITIONING
Same XE9780 chassis with the HGX B200 board: 1000 W GPUs, full FP64/INT8, and up to 12 PCIe slots for 400G E-W NICs (no integrated CX-8).
Power at a glance (live links to 4_Power_Budget)
Scenario | Est. max DC load (W) | PSU redundant output (W) | Status
XE9780 air · 8× B200 · 12× 3200 W (6+6) | 11067.1 | 19200 | OK within redundant capacity
XE9780L liquid · 8× B200 · shared 6× 5500 W shelf (5+1) | 10458.24 | 27500 | OK within redundant capacity
Provenance discipline
Tag | Meaning | Confidence | Use in planning
[I] | Vendor-published (NVIDIA datasheet/product page, OEM spec sheet, QuickSpecs, product guide) | High | Plan against
[D] | Derived here by stated arithmetic from [I] values (formula visible in cell) | Medium-High | Use; check formula
[3P] | Third-party measurement, reseller listing or press arithmetic | Medium | Cross-check before bid
[U] | Unpublished / unverified / planning assumption (editable input) | Low | Replace with OEM calculator output
[N] | Not applicable / not supported | - | -

## 1_System_Spec
1 · System specifications
One block per chassis. Conflicts between sources are shown side-by-side, not resolved silently.
XE9780 (Dell)
System | Section | Parameter | Value | Tag | Src
XE9780 | Identity | Model | Dell PowerEdge XE9780 (air) / XE9780L (liquid) | [I] | D1
XE9780 | Processor | CPU | Two 6th Gen Intel Xeon, up to 86 cores per processor | [I] | D1
XE9780 | Processor | Variant note | XE9780LAP: two Xeon 6 up to 128 cores (6900P class), 24 DIMM / 6 TB | [I] | D1
XE9780 | Memory | Slots / max | 32 DDR5 RDIMM, 4 TB max (32× 128 GB), up to 6400 MT/s | [I] | D1, D2
XE9780 | Management | BMC / tools | iDRAC10, iDRAC Direct, Redfish, iDRAC Service Module, RACADM, IPMI | [I] | D1
XE9780 | Security | Features | Signed firmware, SED encryption, Secure Boot, SCV, Secure Erase, Silicon RoT, System Lockdown, TPM on DC-SCM mezzanine, chassis intrusion | [I] | D1
XE9780 | OS | Supported | Ubuntu Server LTS, RHEL | [I] | D1
XE9780 | Identity | Form factor | 10U, air-cooled | [I] | D1
XE9780 | GPU | Options | 8× NVIDIA HGX B300 NVL8 270 GB 1100 W SXM6 · 8× HGX B200 180 GB 1000 W SXM6 · or no GPU | [I] | D1, D2
XE9780 | Network | Embedded | B300: 8× CX-8 OSFP (default) | [I] | D1
XE9780 | Expansion | PCIe | B300: 4× 150 W Gen5 x16 FHHL · B200: up to 12 (8× 75 W + 4× ≤150 W) Gen5 x16 FHHL · 1× OCP 3.0 (x8) | [I] | D1
XE9780 | Storage | Drives | 16× E3.S NVMe direct (245.76 TB spec sheet / 122.88 TB dell.com) or 10× U.2 NVMe (153.6 TB) | [I] | D1, D2
XE9780 | Storage | Boot | BOSS-N1 DC-MHS, 2× 2280 M.2 SSD (HWRAID 1) | [I] | D1
XE9780 | Power | PSUs | 12× 3200 W Titanium, 200-240 VAC or 240 VDC, hot-swap redundant | [I] | D1
XE9780 | Cooling | Fans | 15 standard-grade GPU fans (hot-swap) + 5 CPU fans (cold-swap) | [I] | D1
XE9780 | Physical | Dimensions | 439.5 mm H × 482.3 mm W × 1044.7 mm D with bezel (1023 mm without) | [I] | D1
XE9780 | Physical | Max weight | 163.2 kg (spec sheet Rev A07) · 156 kg (dell.com page) | [I] | D1, D2
XE9780 | Ports | Front | iDRAC Direct USB-C, 2× RJ45 iDRAC, 1× USB-A, 1× mDP; no rear ports | [I] | D1
XE9780 | Rack density | Blackwell Ultra per rack | Up to 192 GPUs (DLC) and customisable to 256 per Dell IR7000 rack (XE978xL) | [I] | D5
XE9780 | This workbook | GPU population | NVIDIA HGX B200 — max per chassis per GPU config rows above; power scenarios on 4_Power_Budget | [D]
XE9780L (Dell)
System | Section | Parameter | Value | Tag | Src
XE9780L | Identity | Model | Dell PowerEdge XE9780 (air) / XE9780L (liquid) | [I] | D1
XE9780L | Processor | CPU | Two 6th Gen Intel Xeon, up to 86 cores per processor | [I] | D1
XE9780L | Processor | Variant note | XE9780LAP: two Xeon 6 up to 128 cores (6900P class), 24 DIMM / 6 TB | [I] | D1
XE9780L | Memory | Slots / max | 32 DDR5 RDIMM, 4 TB max (32× 128 GB), up to 6400 MT/s | [I] | D1, D2
XE9780L | Management | BMC / tools | iDRAC10, iDRAC Direct, Redfish, iDRAC Service Module, RACADM, IPMI | [I] | D1
XE9780L | Security | Features | Signed firmware, SED encryption, Secure Boot, SCV, Secure Erase, Silicon RoT, System Lockdown, TPM on DC-SCM mezzanine, chassis intrusion | [I] | D1
XE9780L | OS | Supported | Ubuntu Server LTS, RHEL | [I] | D1
XE9780L | Identity | Form factor | 3 OU compute node in IR7000 rack (44 or 50 OU); IR7000 required | [I] | D1
XE9780L | GPU | Options | 8× HGX B300 NVL8 270 GB 1100 W · 8× HGX B200 180 GB 1000 W (B200 on XE9780L only) | [I] | D1
XE9780L | Network | Embedded | B300: 8× CX-8 OSFP | [I] | D1
XE9780L | Expansion | PCIe | Up to 4 PCIe Gen5 x16 FHHL; 1× OCP 3.0 (x16) | [I] | D1
XE9780L | Storage | Drives | 16× E1.S (122.88 TB) or 8× U.2 + 2× U.2 via PCIe CEM (307.2 TB) | [I] | D1
XE9780L | Power | PSUs | 6× 5500 W AC PSUs in rack power shelf (33 kW) - shared, not per node | [I] | D1
XE9780L | Cooling | Method | Liquid-cooled CPUs, CX-8, GPUs and NVLink Switches; fans 4 on UBB + 8 on HPM | [I] | D1
XE9780L | Physical | Dimensions | 140.5 mm H × 537 mm W × 1047.95 mm D (UBB) / 889.65 mm (HPM) | [I] | D1
XE9780L | Physical | Max weight | 107.2 kg | [I] | D1
XE9780L | This workbook | GPU population | NVIDIA HGX B200 — max per chassis per GPU config rows above; power scenarios on 4_Power_Budget | [D]

## 2_Components
2 · Component and option list
Part / feature codes as published. Max qty is per system. Use for BOM drafting; confirm in OEM configurator.
System | Subsystem | Component | Part / feature code | Max qty | Spec | Tag | Src | Note
XE9780 | Processor | 6th Gen Intel Xeon (6700P) | CTO | 2 | ≤86C, ≤350 W | [I] | D1
XE9780 | Memory | DDR5 RDIMM 128 GB | CTO | 32 | 6400 MT/s | [I] | D2
XE9780 | GPU | NVIDIA HGX B300 NVL8 8-GPU (270 GB, 1100 W SXM6) | CTO | 1 |  | [I] | D1
XE9780 | GPU | NVIDIA HGX B200 8-GPU (180 GB, 1000 W SXM6) | CTO | 1 |  | [I] | D1
XE9780 | Network | ConnectX-8 OSFP (B300) | embedded | 8 | 800 Gb/s | [I] | D1
XE9780 | Network | OCP 3.0 NIC | CTO | 1 | x8 | [I] | D1
XE9780 | Storage | E3.S NVMe | CTO | 16 |  | [I] | D1
XE9780 | Storage | U.2 NVMe | CTO | 10 |  | [I] | D1
XE9780 | Boot | BOSS-N1 DC-MHS | CTO | 1 | 2× M.2 | [I] | D1
XE9780 | Power | 3200 W Titanium PSU | CTO | 12 | 200-240 VAC / 240 VDC | [I] | D1
XE9780 | Cooling | GPU fans (hot-swap) |  | 15 |  | [I] | D1
XE9780 | Cooling | CPU fans (cold-swap) |  | 5 |  | [I] | D1
XE9780L | Power | 5500 W AC PSU (rack power shelf) | IR7000 | 6 | 33 kW per shelf | [I] | D1 | Shared across nodes
XE9780L | Storage | E1.S NVMe | CTO | 16 |  | [I] | D1

## 3_Power_Rules
3 · OEM-published power and PSU rules
These constrain the scenarios on 4_Power_Budget. [U] rows are gaps to close with the OEM.
System | Rule | Tag | Src
XE9780 | 12× 3200 W Titanium, 200-240 VAC or 240 VDC; redundancy scheme not stated in retrieved sources | [I] | D1
XE9780 | B300 config: add-in PCIe cards limited to 4× 150 W FHHL; B200 config: up to 12 (8× 75 W + 4× ≤150 W) | [I] | D1
XE9780L | Power delivered from IR7000 rack power shelf: 6× 5500 W AC (33 kW), 54 VDC bus - node has no PSUs | [I] | D1
XE9780L | IR7000 rack required; up to 192 Blackwell Ultra GPUs with DLC, customisable to 256 per rack | [I] | D1, D5

## 4_Power_Budget
4 · Node power budget and rack fit (live model)
Blue-on-yellow cells are inputs. Component load is compared with PSU OUTPUT capacity in redundant mode; AC input and rack fit use PSU efficiency. Replace [U] inputs with OEM calculator output before any facility commitment.
Input | Unit | XE9780 air · 8× B200 · 12× 3200 W (6+6) | XE9780L liquid · 8× B200 · shared 6× 5500 W shelf (5+1) | Tag | Basis
System |  | XE9780 | XE9780L
GPUs installed | count | 8 | 8 | [I] | OEM max / scenario choice
GPU max power | W | 1000 | 1000 | [I] | NVIDIA / OEM GPU TDP
CPUs | count | 2 | 2 | [I] | OEM spec
CPU TDP | W | 350 | 350 | [U] | Scenario SKU choice - see 5_Host_CPU_Map
DIMMs | count | 32 | 32 | [U] | Scenario choice (max per 1_System_Spec)
Power per DDR5 RDIMM | W | 10 | 10 | [U] | Planning assumption; replace with OEM calculator
Data drives (NVMe) | count | 8 | 16 | [U] | Scenario choice
Power per data drive | W | 25 | 20 | [U] | Planning assumption: Gen5 U.2/E3.S ≈25 W, E1.S ≈20 W
Boot drives (M.2) | count | 2 | 2 | [I] | OEM spec
Power per boot drive | W | 8 | 8 | [U] | Planning assumption
Add-in NICs / DPUs | count | 9 | 4 | [U] | Scenario choice (N-S and/or E-W add-in)
Power per NIC / DPU | W | 25 | 25 | [U] | Planning assumption: CX-7 class ≈25 W; BlueField-3 ≈75 W
Baseboard / PCIe switch / NVSwitch / on-board CX-8 overhead | W | 600 | 600 | [U] | Planning placeholder - largest uncertainty on HGX nodes
Fans, VRs and conversion overhead | % of component load | 10% | 4% | [U] | Planning assumption
PSU efficiency at operating load | fraction | 0.95 | 0.95 | [U] | 80 PLUS Titanium ≈94-96% (HPE states up to 96%)
PSU output rating at site input voltage (0 = unpublished) | W | 3200 | 5500 | [I] | OEM spec
PSUs installed | count | 12 | 6 | [I] | OEM spec / scenario
PSUs held for redundancy | count | 6 | 1 | [U] | N+1 = 1, N+N = half
PSUs in dedicated GPU power domain (0 = not modelled) | count | 0 | 0 | [I] | HPE DL380a only
Rack power budget | kW | 30 | 30 | [U] | Your facility figure
Node height | RU | 10 | 3 | [I] | OEM spec
Usable rack units for compute | RU | 38 | 44 | [U] | 42U minus ToR, PDU, patch
Outputs (formulas)
Output | Unit | XE9780 air · 8× B200 · 12× 3200 W (6+6) | XE9780L liquid · 8× B200 · shared 6× 5500 W shelf (5+1) | Tag | Formula basis
GPU load | W | 8000 | 8000 | [D] | GPUs × GPU W
CPU load | W | 700 | 700 | [D] | CPUs × TDP
Memory load | W | 320 | 320 | [D] | DIMMs × W
Storage load | W | 216 | 336 | [D] | drives × W + boot × W
Network add-in load | W | 225 | 100 | [D] | NICs × W
Baseboard / switch overhead | W | 600 | 600 | [D] | input
Component subtotal | W | 10061 | 10056 | [D] | sum of above
Fans / VR / conversion | W | 1006.1 | 402.24 | [D] | subtotal × %
Estimated max DC load | W | 11067.1 | 10458.24 | [D] | subtotal + fans
GPU share of DC load | % | 72.29% | 76.49% | [D] | GPU ÷ DC
Estimated max AC input | W | 11649.5789 | 11008.6737 | [D] | DC ÷ efficiency
PSU output in redundant mode | W | 19200 | 27500 | [D] | (installed − redundant) × rating
Headroom (redundant) | W | 8132.9 | 17041.76 | [D] | capacity − DC load
PSU utilisation (redundant) | % | 57.64% | 38.03% | [D] | DC ÷ capacity
Redundancy check |  | OK within redundant capacity | OK within redundant capacity | [D]
GPU-domain PSU output (no domain redundancy) | W | n/a | n/a | [D] | GPU-domain PSUs × rating
GPU-domain check |  | n/a | n/a | [D] | GPU load ≤ domain output
Heat load | BTU/hr | 39748.3634 | 37561.5946 | [D] | AC W × 3.412
AC power per GPU (all-in) | kW | 1.4562 | 1.3761 | [D] | AC ÷ GPUs
Nodes per rack - power limited | count | 2 | 2 | [D] | rack W ÷ node AC
Nodes per rack - space limited | count | 3 | 14 | [D] | usable RU ÷ node RU
Nodes per rack | count | 2 | 2 | [D] | min(power, space)
GPUs per rack | count | 16 | 16 | [D] | nodes × GPUs
Rack AC load at that fit | kW | 23.2992 | 22.0173 | [D] | nodes × AC
Estimate is a planning ceiling at nameplate GPU/CPU power, not a measured draw. Sustained inference typically runs below nameplate; training and burn-in approach it. PSU ratings are OUTPUT watts at the stated input voltage - check derates (e.g., Dell 3200 W → 2900 W at 200-220 VAC; Lenovo 3200 W is 230 V-only).

## 5_Host_CPU_Map
5 · Host CPU map against the Xeon 6 SKU workbook
Rows 71-82 of 'SKU Recommendations' (GPU host CPU). Socket is the first filter; OEM qualified list the second.
XE9780 — socket LGA-4710; series Xeon 6700P (up to 86C)
System | Workbook row | Workload | Tier | SKU | Cores/TDP | Status | Tag
XE9780 | Row 71 | Training | Good | 6747P | 48C/330W | Socket-compatible; OEM qualification unverified | [U]
XE9780 | Row 72 | Training | Good | 6732P | 32C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780 | Row 73 | Training | Better | 6960P | 72C/500W | Not installable - 6900P is LGA-7529 | [D]
XE9780 | Row 74 | Training | Better | 6767P | 64C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780 | Row 75 | Training | Best | 6962P* | 72C/500W | Not installable - 6900P is LGA-7529 | [D]
XE9780 | Row 76 | Training | Best | 6776P* | 64C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780 | Row 77 | Inference | Good | 6747P | 48C/330W | Socket-compatible; OEM qualification unverified | [U]
XE9780 | Row 78 | Inference | Good | 6732P | 32C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780 | Row 79 | Inference | Better | 6960P | 72C/500W | Not installable - 6900P is LGA-7529 | [D]
XE9780 | Row 80 | Inference | Better | 6767P | 64C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780 | Row 81 | Inference | Best | 6962P* | 72C/500W | Not installable - 6900P is LGA-7529 | [D]
XE9780 | Row 82 | Inference | Best | 6776P* | 64C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780L — socket LGA-4710; series Xeon 6700P (up to 86C)
System | Workbook row | Workload | Tier | SKU | Cores/TDP | Status | Tag
XE9780L | Row 71 | Training | Good | 6747P | 48C/330W | Socket-compatible; OEM qualification unverified | [U]
XE9780L | Row 72 | Training | Good | 6732P | 32C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780L | Row 73 | Training | Better | 6960P | 72C/500W | Not installable - 6900P is LGA-7529 | [D]
XE9780L | Row 74 | Training | Better | 6767P | 64C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780L | Row 75 | Training | Best | 6962P* | 72C/500W | Not installable - 6900P is LGA-7529 | [D]
XE9780L | Row 76 | Training | Best | 6776P* | 64C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780L | Row 77 | Inference | Good | 6747P | 48C/330W | Socket-compatible; OEM qualification unverified | [U]
XE9780L | Row 78 | Inference | Good | 6732P | 32C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780L | Row 79 | Inference | Better | 6960P | 72C/500W | Not installable - 6900P is LGA-7529 | [D]
XE9780L | Row 80 | Inference | Better | 6767P | 64C/350W | Socket-compatible; OEM qualification unverified | [U]
XE9780L | Row 81 | Inference | Best | 6962P* | 72C/500W | Not installable - 6900P is LGA-7529 | [D]
XE9780L | Row 82 | Inference | Best | 6776P* | 64C/350W | Socket-compatible; OEM qualification unverified | [U]

## Open_Questions
Risks and open questions
Items that change a planning number when resolved. Re-verify before any bid.
# | Open item | Why it matters | Resolve by
1 | B200 availability window on XE9780 (air) as B300 ramps | Procurement | Dell configurator
2 | Per-DIMM, per-drive, per-NIC and fan power are planning assumptions [U] | Non-GPU load is 15-30% of node power | OEM power calculators: HPE Power Advisor, Dell EIPT, Lenovo Capacity Planner, Supermicro/MSI sales tools
3 | Workbook CPU SKUs 6960P / 6962P (rows 73, 75, 79, 81) are LGA-7529 | Not installable in LGA-4710 GPU chassis - only 6900P platforms (SYS-522GA-NRT, XE9780LAP) | Adopt socket as first filter in capacity planner

## Sources
Sources
Every [I]/[3P] row in this workbook cites one of these IDs. Internal companion files are marked Internal.
ID | Source | Location | Class
D1 | Dell - PowerEdge XE series AI spec sheet (Rev A07) | https://www.delltechnologies.com/asset/en-us/products/servers/technical-support/poweredge-xe-ai-spec-sheet.pdf | [I]
D2 | Dell - PowerEdge XE9780 product page (dell.com) | https://www.dell.com/en-us/shop/ipovw/poweredge-xe9780 | [I]
D5 | Dell - AI Factory with NVIDIA press release (19 May 2025) | https://www.dell.com/en-us/dt/corporate/newsroom/announcements/detailpage.press-releases~usa~2025~05~dell-technologies-and-nvidia-unveil-next-generation-enterprise-ai-solutions.htm | [I]
X5 | Internal - Intel_Xeon6_Workload_SKU_Recommendations.xlsx, sheet 'SKU Recommendations' rows 71-86 | Intel_Xeon6_Workload_SKU_Recommendations.xlsx | [I]

## Planner_YAML
Capacity-planner parameters (YAML)
Machine-readable block for Agentic Systems Capacity Planner ingestion. One line per row; copy column A verbatim.
system_option:
file: Dell_B200.xlsx
oem: Dell
gpu: B200
tier: "High-end (prior gen)"
chassis:
- model: "XE9780"
rack_units: 10
cpu_socket: "LGA-4710"
- model: "XE9780L"
rack_units: 3
cpu_socket: "LGA-4710"
power_scenarios: # inputs only; outputs live in 4_Power_Budget
- name: "XE9780 air · 8× B200 · 12× 3200 W (6+6)"
system: "XE9780"
gpus: 8
gpu_w: 1000
cpu: {count: 2, tdp_w: 350}
psu: {rating_w: 3200, installed: 12, redundant: 6}
assumptions_u: {dimm_w: 10, drive_w: 25, nic_w: 25, baseboard_w: 600, fan_pct: 0.1, psu_eff: 0.95}
- name: "XE9780L liquid · 8× B200 · shared 6× 5500 W shelf (5+1)"
system: "XE9780L"
gpus: 8
gpu_w: 1000
cpu: {count: 2, tdp_w: 350}
psu: {rating_w: 5500, installed: 6, redundant: 1}
assumptions_u: {dimm_w: 10, drive_w: 20, nic_w: 25, baseboard_w: 600, fan_pct: 0.04, psu_eff: 0.95}
compiled: "25 September 2026"